(Attention Specifiers, all areas in red require you to make selection based on requirements of the project before issuing specification. Please refer to the appropriate product data page when making your selection. All data pages are available at https://acousticalsolutions.com/)

# RECOMMENDED SPECIFICATION FOR CYPRESS ACOUSTIC PANELS

# PART 1	GENERAL

## 1.01	WORK INCLUDED

The work consists of furnishing all labor, materials, accessories and equipment necessary to cover all areas shown on the drawings and specified herein.

## 1.02	DELIVERY AND STORAGE

- Store this product in unopened cartons in a clean, cool, dry interior space. Cartons and product must be protected against marring, water, dirt or damage during delivery and storage.

## 1.03	WARRANTY

- One-year limited warranty from invoice date for defects in workmanship or material.

Warranty excludes normal wear and tear, misuse, improper installation, and external damage.

Extended warranties are available for designated products.

# PART 2	PRODUCTS

## 2.01	PRODUCT

- Cypress Acoustic Panels as supplied by Acoustical Solutions
Address: 3017 Vernon Road, Richmond, VA 23228
Phone: 1-800-782-5742
Fax: 1-804-346-8808
Website: acousticalsolutions.com
Email: estimating@acousticalsolutions.com

Geometric Shape: Rectangular

Size & Thickness: 2" Thick (Maximum size up to 4' x 10')

Core: 1.65# Fiberglass

Surface Finish: Cypress Fabric

Color: To be selected by architect from manufacturer’s standard selection.

Edge Shape: Natural/Square

Edge Construction: Sewn

Acoustical Performance: NRC 0.95

Incombustibility: Class “B” (Outdoor Use Only)

Suspension Provision: Anodized Aluminum Stiffener/Gripper Bar

# PART 3	EXECUTION

## 3.01	INSTALLATION

- Acoustical panels shall be located and spaced as detailed on reflected ceiling plans and/or detailed on the interior elevation drawings and as indicated on room finish schedule.

- Suspend Panels From

- Design specific per project.

Attachment Method

- Design specific per project.

Workmanship

- The acoustical system shall be installed only by an approved contractor.

- All work should be completed in a workmanlike manner. All panels shall be properly installed and left in a clean, sanitary condition. Contractor will remove and dispose of shipping containers and debris.

# END OF SECTION